Radiation Detection
Digitizer vs. Analog

---
The flow of data

---
The Detector

---
The Preamplifier

---
The FEBEX System

---
The FEBEX Cards

---
The energy calculation

---
The Analog Approach

---
Digital vs. Analog
- Pros
  - Low dead-time in the acquisition
  - One can change and adapt the algorithms
  - Tuning and calibration programming instead of manual
  - Synchronized and correlated channels
  - Preservation of pulse information
- Cons
  - Setting up the system requires deep knowledge of the algorithms
  - Customization requires VHDL knowledge

---
References
Physics and engineering of radiation detection, 2nd edition – Syed N. Ahmed
Digital Pulse Processing in Nuclear Physics, Rev. 3
Fibers – Jacob G. Johansen
FEBEX Data Acquisition System – Ivan Rusanov